{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["封-1 招标工程量清单封面","表-08 分部分项工程和单价措施项目清单与计价表"],"read":"whole","date_system":"1900"}

{"sheet":"封-1 招标工程量清单封面","index":0,"n_rows":9,"n_cols":7,"rows_kept":9,"merged":[[0,1,0,5],[1,0,1,6],[2,0,2,1],[2,3,2,4],[2,5,2,6],[3,0,3,1],[3,3,3,4],[3,5,3,6],[4,0,4,1],[4,3,4,4],[4,5,4,6],[5,0,5,1],[5,3,5,4],[5,5,5,6],[6,0,6,1],[6,3,6,4],[6,5,6,6],[7,0,7,1],[7,5,7,6],[8,1,8,5]]}
[null,"清远市科建门窗幕墙装饰有限公司低压配电工程",{"$nulls":4},"工程"]
["招 标 工 程 量 清 单"]
[null,null,"招  标  人："]
[{"$nulls":3},"(单位盖章)"]
[null,null,"造价咨询人："]
[{"$nulls":3},"(单位盖章)"]
[{"$nulls":3},"年   月   日"]
[]
[{"$nulls":6},"封-1"]

{"sheet":"表-08 分部分项工程和单价措施项目清单与计价表","index":1,"n_rows":131,"n_cols":11,"rows_kept":131,"merged":[[0,0,0,10],[1,0,1,3],[1,4,1,7],[1,8,1,10],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,4],[2,5,4,5],[2,6,4,6],[2,7,2,10],[3,7,4,8],[3,9,4,9],[5,3,5,4],[5,7,5,8],[6,3,6,4],[6,7,6,8],[7,3,7,4],[7,7,7,8],[8,3,8,4],[8,7,8,8],[9,3,9,4],[9,7,9,8],[10,3,10,4],[10,7,10,8],[11,3,11,4],[11,7,11,8],[12,3,12,4],[12,7,12,8],[13,0,13,8],[14,0,14,10],[15,0,15,3],[15,4,15,7],[15,8,15,10],[16,0,16,10],[17,0,17,3],[17,4,17,7],[17,8,17,10],[18,0,20,0],[18,1,20,1],[18,2,20,2],[18,3,20,4],[18,5,20,5],[18,6,20,6],[18,7,18,10],[19,7,20,8],[19,9,20,9],[21,3,21,4],[21,7,21,8],[22,3,22,4],[22,7,22,8],[23,3,23,4],[23,7,23,8],[24,3,24,4],[24,7,24,8],[25,3,25,4],[25,7,25,8],[26,3,26,4],[26,7,26,8],[27,3,27,4],[27,7,27,8],[28,0,28,8],[29,0,29,10],[30,0,30,3],[30,4,30,7],[30,8,30,10],[31,0,31,10],[32,0,32,3],[32,4,32,7],[32,8,32,10],[33,0,35,0],[33,1,35,1],[33,2,35,2],[33,3,35,4],[33,5,35,5],[33,6,35,6],[33,7,33,10],[34,7,35,8],[34,9,35,9],[36,3,36,4],[36,7,36,8],[37,3,37,4],[37,7,37,8],[38,3,38,4],[38,7,38,8],[39,3,39,4],[39,7,39,8],[40,3,40,4],[40,7,40,8],[41,3,41,4],[41,7,41,8],[42,3,42,4],[42,7,42,8],[43,0,43,8],[44,0,44,10],[45,0,45,3],[45,4,45,7],[45,8,45,10],[46,0,46,10],[47,0,47,3],[47,4,47,7],[47,8,47,10],[48,0,50,0],[48,1,50,1],[48,2,50,2],[48,3,50,4],[48,5,50,5],[48,6,50,6],[48,7,48,10],[49,7,50,8],[49,9,50,9],[51,3,51,4],[51,7,51,8],[52,3,52,4],[52,7,52,8],[53,3,53,4],[53,7,53,8],[54,3,54,4],[54,7,54,8],[55,3,55,4],[55,7,55,8],[56,3,56,4],[56,7,56,8],[57,0,57,8],[58,0,58,10],[59,0,59,3],[59,4,59,7],[59,8,59,10],[60,0,60,10],[61,0,61,3],[61,4,61,7],[61,8,61,10],[62,0,64,0],[62,1,64,1],[62,2,64,2],[62,3,64,4],[62,5,64,5],[62,6,64,6],[62,7,62,10],[63,7,64,8],[63,9,64,9],[65,3,65,4],[65,7,65,8],[66,0,66,8],[67,0,67,10],[68,0,68,3],[68,4,68,7],[68,8,68,10],[69,0,69,10],[70,0,70,3],[70,4,70,7],[70,8,70,10],[71,0,73,0],[71,1,73,1],[71,2,73,2],[71,3,73,4],[71,5,73,5],[71,6,73,6],[71,7,71,10],[72,7,73,8],[72,9,73,9],[74,3,74,4],[74,7,74,8],[75,3,75,4],[75,7,75,8],[76,3,76,4],[76,7,76,8],[77,3,77,4],[77,7,77,8],[78,0,78,8],[79,0,79,10],[80,0,80,3],[80,4,80,7],[80,8,80,10],[81,0,81,10],[82,0,82,3],[82,4,82,7],[82,8,82,10],[83,0,85,0],[83,1,85,1],[83,2,85,2],[83,3,85,4],[83,5,85,5],[83,6,85,6],[83,7,83,10],[84,7,85,8],[84,9,85,9],[86,3,86,4],[86,7,86,8],[87,3,87,4],[87,7,87,8],[88,3,88,4],[88,7,88,8],[89,3,89,4],[89,7,89,8],[90,3,90,4],[90,7,90,8],[91,3,91,4],[91,7,91,8],[92,3,92,4],[92,7,92,8],[93,3,93,4],[93,7,93,8],[94,0,94,8],[95,0,95,10],[96,0,96,3],[96,4,96,7],[96,8,96,10],[97,0,97,10],[98,0,98,3],[98,4,98,7],[98,8,98,10],[99,0,101,0],[99,1,101,1],[99,2,101,2],[99,3,101,4],[99,5,101,5],[99,6,101,6],[99,7,99,10],[100,7,101,8],[100,9,101,9],[102,3,102,4],[102,7,102,8],[103,3,103,4],[103,7,103,8],[104,3,104,4],[104,7,104,8],[105,3,105,4],[105,7,105,8],[106,3,106,4],[106,7,106,8],[107,3,107,4],[107,7,107,8],[108,3,108,4],[108,7,108,8],[109,3,109,4],[109,7,109,8],[110,3,110,4],[110,7,110,8],[111,3,111,4],[111,7,111,8],[112,3,112,4],[112,7,112,8],[113,3,113,4],[113,7,113,8],[114,3,114,4],[114,7,114,8],[115,3,115,4],[115,7,115,8],[116,3,116,4],[116,7,116,8],[117,3,117,4],[117,7,117,8],[118,3,118,4],[118,7,118,8],[119,3,119,4],[119,7,119,8],[120,3,120,4],[120,7,120,8],[121,3,121,4],[121,7,121,8],[122,3,122,4],[122,7,122,8],[123,3,123,4],[123,7,123,8],[124,3,124,4],[124,7,124,8],[125,3,125,4],[125,7,125,8],[126,3,126,4],[126,7,126,8],[127,0,127,8],[128,0,128,8],[129,0,129,10],[130,0,130,3],[130,4,130,7],[130,8,130,10]]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：清远市科建门窗幕墙装饰有限公司低压配电工程",{"$nulls":3},"标段：",{"$nulls":3},"第 1 页  共 8 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[null,"一、","低压配电工程"]
[null,"1.1、","线路及设备部分"]
[1,"030408003002","电缆保护管（A-B段）","1.名称:2层2列行车埋管\n2.材质:3*HDPE160*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",180]
[2,"030408003004","电缆保护管（A-B段）","1.名称:2层2列行车埋管\n2.材质:1*HDPE50*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",60]
[3,"030408003005","电缆保护管（B-C1段）","1.名称:2层2列行人埋管\n2.材质:3*HDPE110*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",63]
[4,"030408003006","电缆保护管（B-C1段）","1.名称:2层2列行人埋管\n2.材质:1*HDPE50*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",21]
[5,"030408003007","电缆保护管（C1-C2段）","1.名称:2层2列行人埋管\n2.材质:2*HDPE110*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",42]
[6,"030408003008","电缆保护管（C1-C2段）","1.名称:2层2列行人埋管\n2.材质:HDPE50*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",21]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：清远市科建门窗幕墙装饰有限公司低压配电工程",{"$nulls":3},"标段：",{"$nulls":3},"第 2 页  共 8 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[7,"030408003009","电缆保护管（B-C3段）","1.名称:2层3列行人埋管\n2.材质:5*HDPE110*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",105]
[8,"030408003010","电缆保护管（B-C3段）","1.名称:2层3列行人埋管\n2.材质:1*HDPE50*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",21]
[9,"030408003011","电缆保护管（C3-C4段）","1.名称:2层3列行人埋管\n2.材质:4*HDPE110*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",84]
[10,"030408003012","电缆保护管（C3-C4段）","1.名称:2层3列行人埋管\n2.材质:1*HDPE50*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",21]
[11,"030408003013","电缆保护管（C4-C5段）","1.名称:2层3列行人埋管\n2.材质:5*HDPE110*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",105]
[12,"030408003014","电缆保护管（C4-C5段）","1.名称:2层3列行人埋管\n2.材质:1*HDPE50*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",21]
[13,"030408003015","电缆保护管（C5-C6段）","1.名称:2层2列行人埋管\n2.材质:2*HDPE110*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",42]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：清远市科建门窗幕墙装饰有限公司低压配电工程",{"$nulls":3},"标段：",{"$nulls":3},"第 3 页  共 8 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[14,"030408003016","电缆保护管（C5-C6段）","1.名称:2层3列行人埋管\n2.材质:1*HDPE50*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",21]
[15,"030408003017","电缆保护管（C2-D段）","1.名称:2层3列行人埋管\n2.材质:4*HDPE110*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",580]
[16,"030408003018","电缆保护管（C2-D段）","1.名称:2层3列行人埋管\n2.材质:1*HDPE50*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",145]
[17,"030408003019","电缆保护管（C1-E段）","1.名称:2层3列行人埋管\n2.材质:4*HDPE110*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",580]
[18,"030408003020","电缆保护管（C1-E段）","1.名称:2层3列行人埋管\n2.材质:1*HDPE50*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",145]
[19,"030408003021","电缆保护管（B-F段）","1.名称:2层3列行人埋管\n2.材质:4*HDPE110*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",580]
[20,"030408003022","电缆保护管（B-F段）","1.名称:2层3列行人埋管\n2.材质:1*HDPE50*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",145]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：清远市科建门窗幕墙装饰有限公司低压配电工程",{"$nulls":3},"标段：",{"$nulls":3},"第 4 页  共 8 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[21,"030408003023","电缆保护管（C3-G段）","1.名称:2层3列行人埋管\n2.材质:4*HDPE110*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",580]
[22,"030408003024","电缆保护管（C3-G段）","1.名称:2层3列行人埋管\n2.材质:1*HDPE50*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",145]
[23,"030408003025","电缆保护管（C5-H段）","1.名称:2层3列行人埋管\n2.材质:4*HDPE110*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",500]
[24,"030408003026","电缆保护管（C5-H段）","1.名称:2层3列行人埋管\n2.材质:1*HDPE50*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",125]
[25,"030408003027","电缆保护管（C6-J段）","1.名称:2层3列行人埋管\n2.材质:4*HDPE110*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",540]
[26,"030408003028","电缆保护管（C6-J段）","1.名称:2层3列行人埋管\n2.材质:1*HDPE50*8\n3.敷设方式:埋地\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",135]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：清远市科建门窗幕墙装饰有限公司低压配电工程",{"$nulls":3},"标段：",{"$nulls":3},"第 5 页  共 8 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[27,"040504001001","2层2列行车直线井砌筑","1、非定型井垫层 混凝土(普通预拌混凝土 C15)//换：普通预拌混凝土 C15\n2、非定型井垫层 混凝土(普通预拌混凝土 C25)//换：普通预拌混凝土 C25\n3、砖砌 矩形\n4、砖墙 抹灰 井内侧\n5、井室盖板 矩形盖板(每块体积m3) 0.1以内\n6、预制混凝土盖板|1150mm（长）*300mm（宽）*150mm（厚）\n7、集水口φ200PVC管\n8、预埋铁件\n9、人工挖沟槽土方 一、二类土 深度在2m内\n10、挖掘机挖装沟槽、基坑土方 一、二类土\n11、回填砂\n12、回填土 夯实机夯实 槽、坑\n13、自卸汽车运土方 运距10km//扩：D1-1-53+D1-1-54*9",null,"座",2]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：清远市科建门窗幕墙装饰有限公司低压配电工程",{"$nulls":3},"标段：",{"$nulls":3},"第 6 页  共 8 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[28,"040504001002","车间低压电缆检修井砌筑","1、非定型井垫层 混凝土(普通预拌混凝土 C15)//换：普通预拌混凝土 C15\n2、非定型井垫层 混凝土(普通预拌混凝土 C25)//换：普通预拌混凝土 C25\n3、砖砌 矩形\n4、砖墙 抹灰 井内侧\n5、井室盖板 矩形盖板(每块体积m3) 0.1以内\n6、预制混凝土盖板|800mm（长）*300mm（宽）*150mm（厚）\n7、集水口φ200PVC管\n8、预埋铁件\n9、人工挖沟槽土方 一、二类土 深度在2m内\n10、挖掘机挖装沟槽、基坑土方 一、二类土\n11、回填砂\n12、回填土 夯实机夯实 槽、坑\n13、自卸汽车运土方 运距10km//扩：D1-1-53+D1-1-54*9",null,"座",50]
[29,"030408001003","电力电缆","1.名称:低压电缆|WDZBYJY23-1kV-4×240+1×120\n2.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",120]
[30,"030408001004","电力电缆","1.名称:低压电缆|WDZBYJY23-1kV-4*120+1*70\n2.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",30]
[31,"030408001005","电力电缆","1.名称:低压电缆|WDZBYJY23-1kV-4×70+1×35\n2.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",300]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：清远市科建门窗幕墙装饰有限公司低压配电工程",{"$nulls":3},"标段：",{"$nulls":3},"第 7 页  共 8 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[32,"030408001006","电力电缆","1.名称:低压电缆|WDZBYJY23-1kV-4×25+1×10\n2.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",790]
[33,"030408001007","电力电缆","1.名称:低压电缆|WDZBYJY23-1kV-4×16+1×10\n2.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"m",3750]
[34,"030408006002","电力电缆头","1.名称:低压电缆头|户内4×240+1×120\n2.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"个",4]
[35,"030408006003","电力电缆头","1.名称:低压电缆头|户内4×120+1×70\n2.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"个",2]
[36,"030408006004","电力电缆头","1.名称:低压电缆头|户内4×70+1×35\n2.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"个",10]
[37,"030404016003","动力柜-#1AP、#2AP","1.名称:低压动力柜\n2.材质:XL-21\n3.敷设方式:落地式安装\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"台",2]
[38,"030404016004","配电箱","1.名称:低压配电箱\n2.材质:XM\n3.敷设方式:挂式安装\n4.其它:未尽事宜参见施工图说明、图纸答疑、招标文件及相关规范图集",null,"台",56]
[null,null,"线路及设备部分合计"]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：清远市科建门窗幕墙装饰有限公司低压配电工程",{"$nulls":3},"标段：",{"$nulls":3},"第 8 页  共 8 页"]
["序号","项目编码","项目名称","项目特征描述",null,"计量单位","工程量","金额（元）"]
[{"$nulls":7},"综合单价",null,"综合合价","其中"]
[{"$nulls":10},"暂估价"]
[null,"3.1、","调试"]
[39,"030414002002","送配电装置系统","1.名称:低压送配电系统的调试\n2.电压等级(kV):1KV\n3.类型:调试内容包含但不限于以上内容，包含设计、施工验收规范要求的所有调试内容",null,"系统",58]
[null,null,"调试合计"]
[null,null,"低压配电工程合计"]
[null,null,"分部分项合计"]
[null,null,"措施项目"]
[40,"031302007001","高层施工增加",null,null,"项",1]
[41,"031301017001","脚手架搭拆费",null,null,"项",1]
[null,null,"单价措施合计"]
{"$rows_empty":16}
["本页小计"]
["合   计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]